CATALOG IDENTIFICATION_______________________  DATE OF CATALOG______________________

Note:  Please reference your completed CRP Form to determine which selections are appropriate.

I.  SEAL USAGE IN CATALOGS

A. Pick the Correct Seal: [check all that apply]

Air Performance

Air Leakage

Air Leakage and Air Performance

B. Placement of Seal: [check all that apply]

If the catalog contains all licensed products, the seal and qualifying statement shall be prominently displayed either on the cover or in the catalog.

If the catalog contains both licensed and unlicensed products, the AMCA Seal and qualifying statement shall not be shown on the outside cover.

II. QUALIFYING STATEMENT ADJACENT TO THE SEAL

In catalogs containing ratings of licensed products, the following statement shall be printed prominently and immediately adjacent to the reproduction of the AMCA Certified Ratings Seal:

“(Licensee's name as shown on License Agreement) certifies that the (product description) shown herein is (or are) licensed to bear the AMCA Seal.  The ratings shown are based on tests and procedures performed in accordance with AMCA Publication 511 and comply with the requirements of the AMCA Certified Ratings Program.”

Immediately following the seal and qualifying statement there should be statement identifying the type of performance that is licensed.  The sentence should say "The AMCA Certified Ratings Seal applies to XXXXX only."  As an example "The AMCA Certified Ratings Seal applies to air performance ratings only." or "The AMCA Certified Ratings Seal applies to air performance and air leakage ratings only."

III. CATALOG IDENTIFICATION REQUIREMENTS

Catalogs containing performance ratings of licensed products shall have a catalog identification reference (e.g. Catalog No. XXX Rev. 1), and unabbreviated current catalog date, (e.g. November 2004) on the outside front or back cover.

Where ratings are on separate sheets or on loose leaf that may be removed from the cover, each sheet or loose leaf shall be identified and dated as above.

IV. AIR PERFORMANCE REQUIREMENTS

Published ratings of air performance shall be a statement of the maximum static pressure drop for a specified airflow rate and at standard air density and the AMCA figure or figures tested for all required sizes.

V. LEAKAGE REQUIREMENTS

A. Air Leakage Statement

Published air leakage data shall state that air leakage is based on operation between 0 °C - 49 °C (32 °F - 120 °F).

B. Air Leakage Ratings

The method of torque or force calculation shall be clearly identified in the published data.  The following statement shall be included:

“Data are based on a torque of [#] N•m/m2 (in-lb/ft2) applied to close and seat the damper during the test.”

Published ratings of air leakage performance shall be a statement of the appropriate class at:

• A specified differential pressure

• Standard air density

• AMCA figure or figures tested to

VI. TESTING REQUIREMENTS

A. Rectangular Volume Control Dampers

Classes for the following sizes only shall be published for air leakage:

    - 12 in. X 48 in

    - Max. width X 36 in. height

    - Up to two additional sizes may be cataloged. (Width between 12 in and maximum.  Height - 36 in.)

Data for the following sizes only shall be published for air performance:

- 12 in. X 48 in.

- 12 in. X 12 in.

- 24 in. X 24 in.

- 36 in. X 36 in.

- 48 in. X 12 in.

B. Round Volume Control Dampers

Classes for the following sizes only shall be published for air leakage:

- Minimum size

- Maximum size

Data for the following sizes only shall be published for air performance:

- 12 in.

- 24 in.

- 36 in.

C. Backdraft Dampers

Data for the following sizes only shall be published for air leakage:

- Rectangular – 24 in. X 24 in.

- Round – 24 in.

Data for the following sizes only shall be published for air performance (optional):

    - Rectangular – 24 in. X 24 in.

    - Round – 24 in

D. Rectangular Ultra-Low Leakage & Zero Leakage Dampers

Data for the following sizes only shall be published for air leakage:

- Minimum width X Maximum height

- Maximum width X Minimum height

- Maximum width X Maximum height

E. Round Ultra-Low Leakage & Zero Leakage Dampers

Data for the following sizes only shall be published for air leakage:

- Minimum size

- Maximum size

# Text boxes

CHECKLIST:  DAMPER CATALOGS